## Slide 1: Quasi-Definitive Data 2015

## Slide 2: Quasi-Definitive Data
http://www.intermagnet.org/faqs-eng.php#quasi-definitive
INTERMAGNET has defined a standard for a new data type called quasi-definitive. As the name implies the data should be close to the expected definitive value, but is to be delivered more rapidly than an observatories annual definitive data. This initiative will be useful for a number of scientific activities, but with the Swarm satellite mission near its start date, the data will be particularly useful in providing ground truth data for the satellite’s magnetometers.
Quasi-definitive data are (H, D, Z) or (X, Y, Z) 1-minute data:
Corrected using temporary baselines
Made available less than 3 months after their acquisition
Such that the difference between the quasi-definitive and definitive (X, Y, Z) monthly means is less than 5 nT for every month of the year
Point c is checked a posteriori by comparing quasi-definitive and definitive data from the previous year.
Tech. Ref. Manual V4.6 Appendix E-3 and http://www.intermagnet.org/faqs-eng.php#data-types
(Quasi-definitive) Data are defined as data that have been corrected using provisional baselines. Produced soon after their acquisition, their accuracy is intended to be very close to that of an observatory's definitive data product. 98% of the differences between quasi-definitive and definitive data (X, Y, Z) monthly mean values should be less than 5nT.

## Slide 3
Definitive and Quasi-definitive data downloaded October/November 2017 from (old) INTERMAGNET FTP site ftp.intermagnet.org
70 IMOs submitted at least some 2015 QD data
ABK, API, ASC, ASP, BEL, BOU, BOX, BRW, CKI, CLF, CMO, CNB, CSY, CTA, CYG, DLT, DOU, EBR, ESK, EYR, FRD, FUR, GAN, GDH, GNG, GUA, HAD, HER, HON, HRN, HUA, HYB, IPM, JCO, KAK, KDU, KEP, KHB, KNY, KOU, LER, LRM, LYC, LZH, MAB, MAW, MBO, MCQ, MGD, MMB, NAQ, NEW, NGK, NVS, PET, PHU, PST, SBA, SBL, SFS, SJG, SPT, SUA, TAM, TDC, THL, THY, TUC, UPS, WNG
17 of these 70 IMOs had no 2015 definitive data available
BOX, CLF, CYG, DLT, EYR, GAN, GDH, HUA, HYB, IPM, KOU, LZH, MBO, NAQ, PHU, THL, WNG
As of early June 2018 definitive data for CYG, EYR, HUA, HYB have become available, but these data are not included in this analysis
Data from 53 IMOs available for this comparison
Differences calculated using “QDC” written by Peter Crosthwaite. Same software used for 2012 data comparison presented at the 2014 Hyderabad meeting.

## Slide 4: 2015 QD Availability: 53 IMOs
Chart: Data available for yearly comparison % (X)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | 100 | 96.9732 | 99.4863 | 99.7778 | 99.9928 | 99.9437 | 99.9178 | 99.9507 | 98.9016 | 99.9448 | 99.5949 | 85.1357 | 96.1075 | 99.8356 | 100 | 99.2093 | 66.5753 | 99.9892 | 99.501 | 99.9945 | 99.692 | 99.4686 | 99.9933 | 46.0082 | 100 | 99.9138 | 97.793 | 93.5335 | 99.9983 | 100 | 99.997 | 100 | 90.0546 | 99.9928 | 99.9966 | 98.3607 | 100 | 99.5419 | 100 | 99.4658 | 99.9842 | 98.7066 | 98.8896 | 99.3847 | 96.3369 | 99.6421 | 100 | 41.3682 | 99.6246 | 96.2861 | 49.6731 | 16.7123 | 100
Chart: Data available for yearly comparison % (Y)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | 100 | 96.9732 | 99.4863 | 99.7778 | 99.9928 | 99.9437 | 99.9178 | 99.9507 | 98.9016 | 99.9448 | 99.5949 | 85.1357 | 96.1075 | 99.8356 | 100 | 99.2093 | 66.5753 | 99.9892 | 99.501 | 99.9945 | 99.692 | 99.4686 | 99.9933 | 46.0082 | 100 | 99.9138 | 97.793 | 93.5335 | 99.9983 | 100 | 99.997 | 100 | 90.0546 | 99.9928 | 99.9966 | 98.3607 | 100 | 99.5419 | 100 | 99.4658 | 99.9842 | 98.7066 | 98.8896 | 99.3847 | 96.3369 | 99.6421 | 100 | 41.3682 | 99.6246 | 96.2861 | 49.6731 | 16.7123 | 100
Chart: Data available for yearly comparison % (Z)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | 100 | 96.9536 | 99.4869 | 99.7778 | 99.9928 | 99.929 | 99.9616 | 99.9507 | 98.9277 | 99.9448 | 99.5949 | 85.1357 | 96.1075 | 99.8356 | 100 | 99.2083 | 66.5753 | 99.9892 | 99.497 | 99.9945 | 99.692 | 99.4705 | 99.8571 | 46.0082 | 100 | 99.9138 | 97.793 | 93.5375 | 100 | 100 | 99.997 | 100 | 90.0546 | 99.9928 | 99.9966 | 98.3607 | 100 | 99.5434 | 100 | 99.4658 | 99.9796 | 98.7066 | 98.6672 | 99.3853 | 96.3369 | 99.6408 | 100 | 41.3682 | 99.6242 | 96.2861 | 49.6731 | 16.7076 | 100

## Slide 5: Annual Mean Difference: 53 IMOs (Def – QD)
Chart: Yearly mean difference (X)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | -0.029 | -0.24 | -0.0057 | 0.1792 | -0.0412 | -0.0249 | -0.0058 | 0.4822 | -0.0042 | -0.0142 | -0.1435 | -0.1129 | -0.3264 | 0.0231 | -0.0578 | 0.0411 | 0.3807 | 0.1572 | -0.0139 | 0.1088 | -0.3729 | -0.0078 | -0.3599 | -0.1316 | 0.0067 | 1.245 | 0.3529 | 0.7496 | 0.0067 | -0.1364 | 0.3794 | 0.0184 | 0.8228 | -0.016 | -0.9177 | -0.0616 | 0.0059 | -0.0114 | 0.1499 | -0.0057 | -0.031 | -0.4389 | 0.0001 | -0.2582 | -0.2741 | 0.0119 | 0.0122 | 0.1251 | 0.0021 | 0.1798 | 2.6776 | 0.0778 | 0.0011
Chart: Yearly mean difference (Y)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | 0.086 | -0.0394 | -2.1105 | -0.1581 | 0.0104 | -0.065 | 0.1014 | -0.6794 | -0.0167 | -0.2507 | 0.5748 | -0.3116 | -0.5922 | -0.014 | 0.0122 | 0.1995 | -0.8018 | -0.0185 | 0.6735 | 0.0177 | 0.1568 | -0.0371 | -0.1899 | -0.2299 | -0.0054 | 0.058 | 0.1219 | -0.1817 | -0.0052 | -0.097 | -0.0586 | -0.0019 | -2.6864 | 0.211 | -0.5671 | -0.0552 | -0.0052 | -0.1195 | 0.0476 | -0.0233 | 0.0089 | -0.3514 | 0 | -0.23 | 0.1028 | -0.0221 | 0.1335 | -0.0776 | 0.0037 | -0.1668 | -0.1563 | 0.9094 | 0.0296
Chart: Yearly mean difference (Z)
| abk | api | asc | asp | bel | bou | brw | cki | cmo | cnb | csy | cta | dou | ebr | esk | frd | fur | gng | gua | had | her | hon | hrn | jco | kak | kdu | kep | khb | kny | ler | lrm | lyc | mab | maw | mcq | mgd | mmb | new | ngk | nvs | pet | pst | sba | sbl | sfs | sjg | spt | sua | tam | tdc | thy | tuc | ups
% data available | -0.1392 | -0.0737 | 0.6715 | 0.217 | 0.0107 | -0.0209 | -0.0029 | 0.1049 | -0.0005 | -0.0593 | 0.0237 | -0.2967 | 0.319 | -0.0465 | -0.2675 | -0.0011 | -0.0764 | 0.2545 | -0.0311 | -0.2389 | 0.8899 | -0.0001 | 0.2182 | -0.0058 | 0 | -0.6746 | 0.2037 | 1.5792 | 0 | -0.1666 | -0.3413 | -0.0399 | 0.8104 | -0.1154 | -0.0069 | -0.084 | 0 | -0.0026 | 0.0293 | -0.0257 | -0.0765 | -0.1395 | 0.0002 | 0.1836 | 0.0806 | -0.012 | -0.0018 | -0.0372 | 0.0049 | 0.0036 | 1.8327 | -0.0583 | -0.0334

## Slide 6: Monthly Mean Difference: 53 IMOs (Def – QD)
Chart: Monthly mean difference (X)
Chart: Monthly mean difference (Y)
Chart: Monthly mean differences (Z)

## Slide 7: Min. and Max. Minute Difference: 53 IMOs X (North)
Chart: Min and max (X)
Chart: Min and max (X) - zoomed

## Slide 8
Min. and Max. Minute Difference: 53 IMOs Y (East)
Chart: Min and max (Y)
Chart: Min and max (Y) - zoomed

## Slide 9
Min. and Max. Minute Difference: 53 IMOs Z (Vertical)
Chart: Min and max (Z)
Chart: Min and max (Z) - zoomed

## Slide 10
Chart: Monthly Means (X) 53 IMOs n=603
Chart: Monthly Means (Y)
Chart: Monthly Means (Z)

## Slide 11: Out of Specification
X Channel | Y Channel | Z Channel
DOU (Aug -5.8) |  | 
MAB (Nov +5.8) | MAB (Nov -17.4) | MAB (May +6.6)
THY (Dec +6.2) | ASC (Mar -5.3) | 
X Channel | Y Channel | Z Channel
 | ASC (Nov -4.8) | 
 | MAB (Sep -4.9; Jun -4.3) | MAB (Jun +4.9)
 | DOU (Dec -4.8) | 
Almost Out of Specification

## Slide 12
Chart: ASC 2015 X (North) Daily Mean Difference (Def - QD)
Chart: ASC 2015 Y (East) Daily Mean Difference (Def - QD)
Chart: ASC 2015 Z (Vertical) Daily Mean Difference (Def - QD)
Chart: DOU 2015 X (North) Daily Mean Difference (Def - QD)
Chart: DOU 2015 Y (East) Daily Mean Difference (Def - QD)
Chart: DOU 2015 Z (Vertical) Daily Mean Difference (Def - QD)

## Slide 13
Chart: MAB 2015 X (North) Daily Mean Difference (Def-QD)
Chart: MAB 2015 Y (East) Daily Mean Difference (Def-QD)
Chart: MAB 2015 Z (Vertical) Daily Mean Difference (Def-QD)
Chart: THY 2015 X (North) Daily Mean Differnce (Def - QD)
Chart: THY 2015 Y (East) Daily Mean Differnce (Def - QD)
Chart: THY 2015 Z (Vertical) Daily Mean Differnce (Def - QD)

## Slide 14
Publication Delay
“Publication Date” is an optional field in the IAGA-2002 meta-data header.
Some, but not all, IMOs include “Publication Date” in the IAGA-2002 QD daily data files.
An alternative to the “Publication Date” field is the operating system file modification date. This is available for all QD daily IAGA files and was preserved during FTP data transfers. The OS file modification date correlates with IAGA-2002 header “Publication Date” for those files checked.
OS file modification date was used as the measure of the publication date for the QD data for all IMOs.
Acquisition date obtained from the IAGA-2002 daily file name eg “CLF20150416qmin.min”
>90 days was used as an estimate of the “three months” delay time in some of the figures discussed below

## Slide 15
Chart: Publication Delay 70 IMOs (N=23032 IMO_days of QD data)
77 % delivered before 90 day delay
23 % delivered after 90 day delay
Peak at 1 day: ASC, KEP, PST, SBL, SFS, THY
Peak at 10 day: LER, NVS, PET
Peak at 180 day: CYG, KAK, MMB, KNY, NAQ, TDC, THL
Peak > 365 days: SBA, API
Some IMOs deliver QD data daily, most deliver monthly.
A small number deliver daily but 6 months after acquisition
23/70 IMOs had no late data:
ASP, BOU, BRW, CKI, CNB, CSY, CTA, EBR, EYR, FRD, GAN, GNG, GUA, HON, KHB, LRM, MGD, NGK, NVS, PET, PHU, SPT, THY

## Slide 16
Chart: Late QD daily files (70 IMOs)
Chart: Late QD daily files - zoomed

## Slide 17: Summary
A total of 6 months (distributed across 4 IMOs) have monthly mean Def – QD differences greater than 5 nT
1% of the total 603 months of QD data available for 2015
23 % daily QD files were delivered late (more than 90 days after acquisition
23 (33%) IMOs delivered all QD data within the three month publication delay